UCI Physical Sciences Chemical Hygiene Plan

APPENDIX K

Sample Standard Operating Procedures (SOP)

STANDARD OPERATING PROCEDURES

FOR

QUENCHING SOLVENT DRYING STILL BOTTOMS

- PROCESS: Quenching Solvent Drying Still Bottoms

The process of quenching solvent drying still bottoms is very dangerous. If not handled properly, fire or explosion can result. The steps and information outlined below must be followed while quenching solvent drying still bottoms. Consult your Principal Investigator before modifying these steps.

When a distillation flask becomes discolored and filled with a brown semi-solid material, it is time to start over with new solvent and drying material (usually sodium or lithium metal or a metal hydride.) However, one must first 'quench' the old flask. The quenching procedure should be performed as soon as possible to avoid the possible production of peroxides in the solvents. Also it is good policy to quench these strong bases in a timely fashion so someone else will not be injured by negligence.

It is not a good idea to let the drying agents sit for weeks in the fumehood for passive quenching, especially if the solvent is a peroxide former. At the same time, trying to quench them in a hurry can cause severe problem.

If you see that the drying agent is coated with tar, proceed very slowly and cautiously in successive addition of alcohols with manual agitation from time to time. The key thing to remember when quenching these sorts of things is to be very PATIENT. Sometimes, the reaction takes a few minutes to get going, so it is easy to add a whole bunch and then have the reaction get out of control. Often, it is safer to let the reaction go overnight with alcohol if killing a large still with tar coated drying agents.

It is advisable to first separate extremely flammable solvents like ether away from the drying agent by decanting, cover the drying agent with high boiling inert solvent like xylene, and then proceed with the quenching process. Keeping the reaction flask cool and under argon or nitrogen gas are very helpful in avoiding accidents.

Quenching Steps:

The quenching operation will be always performed in a properly operating fume hood. There must not be any other flammables or explosives stored in the fumehood at the time of quenching.

Have the appropriate fire extinguisher ready and refresh your memory on how to use it.

Never perform this process alone; you must have some other well-informed person about the process around the lab at the time of quenching.

First, remove the flask to a clean, clear fume hood, which works the best. Make sure that the fumehood is clear of all flammables and unnecessary equipment.  Acquire a labeled container in which to place the unused portion of the solvent to be dried. If this is to be discarded, then it must first be properly labeled as hazardous waste. Obtain a container of sufficient size to hold both ice water and the flask.

Next, decant the bulk of the remaining solvent into the appropriate labeled container. If the still was neglected and there is a ball of metal surrounded by tar, it would be wise to make sure that there is a high boiling point inert solvent (e.g. xylene) to keep the drying agent covered at all times and to act as a heat sink in case of sudden reaction. Place the flask into the ice water bucket; secure it with a clamp and ring stand if necessary to prevent it from falling over. You may want to use dry ice / acetone bath if solvent does not freeze at -78 degrees centigrade to slow reaction.  Keep the solution stirred either mechanically or by a spark-proof magnetic stirrer. Aim the mouth of the flask away from any people or equipment. If you are quenching a large volume of metal/hydride, obtain and use a blast shield.

It is advisable to have dry ice available to put in flask to achieve a quick cool down and a blanket of carbon dioxide over the reactants if the reaction gets out of control.

Now, use a pipette to add a small aliquot of sec-butanol. Perform the entire quenching operation under argon or nitrogen gas. If gaseous bubbles appear, wait until they stop, then add another small aliquot of sec-butanol. Continue this cautious step-wise addition until the generation of gaseous bubbles becomes very slow.

After the s-butanol, try adding an alcohol with more freely available protons, like n-butanol. Continue the same cautious, step- wise approach until the gas bubble generation slows considerably. Remember to stir or swirl the flask occasionally, always keeping the mouth of the flask pointed away from anyone. Once you've used n-butanol, try the same step-wise cautious addition with these solvents in sequence: isopropanol, ethanol, methanol and water.

Be Very Careful with the addition of WATER! Even after methanol has been added, the drying agent can still react violently with water, especially if there hasn't been sufficient mechanical stirring of the solution. Mechanical stirring is vital because water is most dense and immiscible. It will sink to bottom with remaining solid to react vigorously.

Once the reaction with water is complete, use a suitable acid solution to neutralize the basic solution you've created. Good choices include 3 molar hydrochloric acid (3 M HCl) and citric acid, which may be easier to use. Add the acid in aliquots with the goal of obtaining a pH of 7. Don't be obsessive about obtaining this exactly; in the 5 - 9 range is OK. Pour this solution into a properly labeled waste container and see that it is disposed of in a safe, legal manner. In order to properly label the waste container with the percentages, you must keep track of the approximate amounts of the various solvents you used in this quenching process.

References:

- The Chemist’s Companion by Gordon & Ford - page 445(lists drying agents with excellent comments about which solvents they work best with or should not be used at all)

- Prudent Practices in the laboratory, National Research Council - page 163(describes procedures for decomposing metal hydrides, alkali metals etc.)

- HAZARDOUS CHEMICALS/CLASS OF HAZARDOUS CHEMICALS

FLAMMABLE LIQUIDS:

GLYME (1,2-Dimethoxyethane or Ethylene glycol dimethyl ether ), THF (Tetrahydrofuran), Et2O (Ether, or Diethyl ether, or Ethyl ether), Dioxane (1,4-Dioxane or p-Dioxane), Toluene, Hexanes, p-xylene, Acetone, Pyridine, DMF, Acetonitrile, Chloroform, Diisopropyl amine, Triethyl amine, Diisopropyl ethylamine, Diphenyl ketone, Triethylamine, Pentane, Benzene, sec-butanol, n-butanol, isopropanol, ethanol, methanol

Notes:

1.The ethers (glyme, THF, ether, dioxane) can form explosive peroxides when exposed to air and stored for a time.

2.Some of these chemical are 'Known to the State of California to Cause Cancer' including benzene and 1,4-dioxane.

CORROSIVES:

ACIDIC SOLIDS: Citric acid

CAUSTIC SOLIDS: Sodium, Lithium

ACIDIC LIQUIDS: Hydrochloric Acid

- PERSONAL PROTECTIVE EQUIPMENT

EYE PROTECTION: Safety Glasses or Goggles, Face Shield if desired

PROTECTIVE CLOTHING: Apron or Lab coat

Gloves: nitrile, butyl, PVC or relevant material

- ENGINEERING / VENTILATION CONTROL

Use a fume hoods, preferably with the sliding sash windows. Perform all operations in the hood, stand behind the sliding windows and reach around to perform the manipulations required.

- SPECIAL HANDLING PROCEDURES AND STORAGE REQUIREMENTS

Label the hazardous materials with their full name (i.e. tetrahydrofuran not THF). Store the flammables in the approved flammables storage cabinet.

Use secondary containment carriers whenever transporting hazardous material outside of the lab. Use due care and caution when moving hazardous materials around anywhere.

- SPILL AND ACCIDENT PROCEDURES

If one spills the unquenched flask, MOVE QUICKLY AWAY. The drying agent may spontaneously ignite in the air and the flammable solvent may cause a flash fire. Inform

EVERYONE in the immediate area and have them move to safe location.

If the spill is large, call the hazardous materials response spill team and inform them of the condition. There are two likely occurrences, the flammable solvent will evaporate and the alkali metal or metal hydride will oxidize with the moisture in the air. Or the alkali metal or metal hydride will react vigorously with a proton source (like water) and will generate hydrogen gas, which may spontaneously ignite with the heat of the reaction. If this occurs, EXIT and CALL the FIRE DEPARTMENT, the entire area may be quickly engulfed in flames.

If the spill is small, and doesn't contain any alkali metal or metal hydride, treat it as a flammable materials spill and 'dike' it with absorbent spill cleanup material (polypropylene, silicates) cover the spill with the absorbent then, once the spill is absorbed, sweep it into a bag, properly labeled with the contents for hazardous waste disposal.

If the spill evaporates completely and leaves the slowly oxidizing alkali metal or metal hydride behind, gather these carefully into a beaker and quench with the same previously described procedure.

- WASTE DISPOSAL

Dispose of the properly labeled hazardous waste in a safe legal manner. Non-hazardous waste may be placed in a container to go to a sanitary landfill or, if appropriate, washed into the sewerage system.

# PARTICULARLY HAZARDOUS SUBSTANCES ONLY

- APPROVAL REQUIRED

BEFORE conducting this operation, approval from the Principal Investigator, or designated person, is REQUIRED.

- DECONTAMINATION PROCEDURES

All contaminated personal protective equipment and glassware used should be washed with soap (or detergent) and water.

- DESIGNATED AREA

The operation should ONLY BE CONDUCTED in a CLEAN, Properly Operating FUME HOOD. DO NOT perform this process ALONE! Have an informed, prepared person be in the area. Tell others to move away from the area where this fumehood is locatedwhen you begin quenching steps.

These safety training resources, prepared solely for the use of the Regents of the University of California, were provided by a variety of sources.  It is your responsibility to customize the information to match your specific operations.  Neither the University of California nor any of its employees, makes any warranty, express or implied, or assumes any legal liability or responsibility for the accuracy, completeness, or usefulness of any information, or represents that its use would not infringe privately owned rights.  Reference herein to any specific commercial product, process, or service by trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the University of California. The views and opinions of authors expressed herein do not necessarily state or reflect those of the University of California, and shall not be used for advertising or product endorsement purposes.