STANDARD OPERATING PROCEDURES

FOR

THERMAL SOLVENT DISTILLATION SYSTEM

- PROCESS: THERMAL SOLVENT DISTILLATION SYSYEM

The process of thermal solvent distillation system is inherently very dangerous. If not handled properly, fire or explosion or personnel exposure can result. The steps and information outlined below must be followed while distilling any solvents thermally. Consult your Principal Investigator before modifying these steps or instrument specific lab procedures.

The steps outlined below addresses general life safety concerns while setting up and operating solvent distillation systems. You must make sure that the system and lab specific operational procedures are finalized in a written form with the help of the Principal Investigator and verified by EH&S and incorporated into this SOP to be followed at all times.

It is important to mention that the Chemistry department has adopted the policy of purifying all solvents in large quantities through the chemical solvent purification columns free of heat and drying agents like potassium and sodium for safety reasons. Be aware that thermal distillation will be used for purifying solvents in small quantities for those solvents that are not being purified by the non-thermal chemical purification system.

All solvent distillation must always be set inside the fume hood and efforts will be made for not storing other flammable and hazardous materials either inside that hood or under it or in the vicinity nearby.

- HAZARDOUS CHEMICALS/CLASS OF HAZARDOUS CHEMICALS

FLAMMABLE LIQUIDS: Tetrahydrofuran (THF), Methylene Chloride, Diethyl ether, Toluene, Dimethylformamide (DMF), Benzene, and Hexanes.

Notes:

1.The ethers (glyme, THF, ether, dioxane) can form explosive peroxides when exposed to air and stored for a time.

2.Some of these chemical are 'Known to the State of California to Cause Cancer, including benzene and methylene chloride.

- PERSONAL PROTECTIVE EQUIPMENT

EYE PROTECTION: Safety Goggles, Face Shield if desired.

PROTECTIVE CLOTHING: Apron or Lab coat and appropriate chemical resistant gloves, and heat resistant gloves.

Organic Vapor respirator can be used by EH&S qualified user if solvents are handled outside the hood.

- ENGINEERING / VENTILATION CONTROL

The thermal solvent distillation system must be installed inside the fume hood.  Maintain sash opening at the designated height. Do not use walk-in fume hood for this operation.

Ensure that all heat generating equipment have over temperature  shut off device installed.

Ensure that all water connections on the condenser are clamped securely.

- SPECIAL HANDLING PROCEDURES AND STORAGE REQUIREMENTS

Display and follow the lab specific written procedures for the whole system like setting up the system, dispensing, quenching of left over drying agents, etc.

Inspect all glassware for defects before setting them up in the experiment.

Do not let the still go dry. Always set small scale distillation during daytime working hours and keep visiting the fume hood where distillation is going on at least every 30 minutes to make sure all is well. It is a good idea to plan distillation in a lab on those days when at least two persons are present in the lab including the person doing the distillation.

Keep all air and water sensitive drying agents under inert atmosphere. Make consistent efforts in not storing or using other flammable or hazardous chemicals either inside that fume hood or under it or around the general area where distillation is taking place.

For peroxide forming solvents that might be exposed to air over an extended period of time - peroxide tests should be conducted according to PS CHP (section 4.4.2.2).

Benzene is a confirmed human carcinogen - avoid inhalation and skin contact. Handle it inside the fume hood or wear an approved respirator. Methylene chloride is a suspect human carcinogen and there is no approved respirator for this solvent.

Label the hazardous materials with their full name (i.e. tetrahydrofuran not THF). Store the flammables in the approved flammable storage cabinets before they are transferred into the distillation flask.

Use secondary containment carriers whenever transporting hazardous material outside of the lab. Use due care and caution when moving hazardous materials.

- SPILL AND ACCIDENT PROCEDURES

Keep a 5-gallon universal spill kit from the PS Store near the distillation unit, which can be used for small incidental spills.

For large spills - isolate the spill if possible, evacuate area, keep people away, and Call for help:

EH&S (8 AM - 5 PM) - 949-824-5073, from campus phone ext. 4-5073.

UCI POLICE (24 HOURS) - Dial 911 OR 949-824-5223 when using outside line or cell phone.

- WASTE DISPOSAL

Dispose of any hazardous waste generated by this system through UCI EH&S by completing a Hazardous Waste Pick up Form and faxing it to EH&S at 4-9180.

# PARTICULARLY HAZARDOUS SUBSTANCES ONLY

- APPROVAL REQUIRED

N/A

- DECONTAMINATION PROCEDURES

N/A

- DESIGNATED AREA

N/A

These safety training resources, prepared solely for the use of the Regents of the University of California, were provided by a variety of sources.  It is your responsibility to customize the information to match your specific operations.  Neither the University of California nor any of its employees, makes any warranty, express or implied, or assumes any legal liability or responsibility for the accuracy, completeness, or usefulness of any information, or represents that its use would not infringe privately owned rights.  Reference herein to any specific commercial product, process, or service by trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the University of California. The views and opinions of authors expressed herein do not necessarily state or reflect those of the University of California, and shall not be used for advertising or product endorsement purposes.